## Slide 1
Outcomes of Absorb Bioresorbable Scaffolds with Improved Technique in an Expanded Patient Population: The Blinded ABSORB IV Randomized Trial
Gregg W. Stone MD
Stephen G. Ellis MD and Dean J. Kereiakes MD
for the ABSORB IV Investigators

## Slide 2: Disclosures
Chairman of the ABSORB global clinical trial program (uncompensated)
Consultant to Reva, Inc.

## Slide 3
Background
Prior studies have demonstrated more adverse events with coronary bioresorbable vascular scaffolds (BVS) compared with metallic DES, although in the ABSORB II trial angina was reduced with BVS
However, these early studies were unblinded, lesions smaller than intended for the scaffold were frequently enrolled, technique was suboptimal, and patients with recent MI in whom BVS may be well-suited were excluded

## Slide 4
DAPT for ≥12 months
Clinical/angina follow-up: 1, 3, 6, 9, 12 months, yearly through 7-10 years
SAQ-7 and EQ-5D: 1, 6, 12 months and 3 and 5 years
Cost-effectiveness: 1, 2, and 3 years
Primary endpoints: TLF at 30 days; TLF between 3 and 7-10 yrs (pooled with AIII)
Secondary endpoints: TLF at 1 year; angina at 1 year
Absorb BVS N=1,300
Xience EES
N=1,300
Trial Design (Blinded FU)
No routine angiographic follow-up
BVS technique:
Pre-dil: 1:1; NC balloon recommended
  Sizing: IV TNG; QCA/IVUS/OCT strongly recommended if visually estimated RVD ≤2.75 mm and 2.5 mm device intended; <2.5 mm ineligible!
  Post-dil: 1:1, NC balloon, ≥16 atm strongly recommended
~2,600 pts with SIHD or ACS
1 - 3 target lesions w/RVD 2.5-3.75 mm and LL ≤24 mm
Randomize 1:1
Stratified by diabetes and ABSORB III-like vs. not
NCT01751906

## Slide 5
Patients:
  Allowed troponin + pts, lsns with thrombus, 1-3 lsns (1-2 vessels)
Technique:
  Extensive training not to enroll small vessels (visual RVD <2.5 mm)
  IV imaging/QCA strongly recommended if visual RVD ≤2.75 mm
  ACL measured RVD within 72 hours and sites were placed on hold/re-trained if lesions with QCA RVD <2.25 mm were enrolled
  Aggressive pre-dilatation and routine NC-balloon high pressure post-dilatation were strongly recommended (but not mandated)
Blinding:
  Of pts/family/all post-PCI caregivers and clinical assessors
  Specific training/conscious sedation/headphones/bills masked
  Blinding/perception questionnaire administered at discharge & 1-year
Angina assessment:
  6-page CRF questionnaire of specific angina symptoms
  Angina type and severity adjudicated by blinded CEC
Novel Study Procedures

## Slide 6
Endpoints hierarchically tested
Power Analysis
Endpoint | Test | Assumptions* | Power with 2600 pts
1° endpoint 30-day TLF | Non-inferiority | Rate 4.9% in both groups NI margin 2.9% risk difference 1-sided alpha 0.025 | 92%
2° endpoint 1-year TLF | Non-inferiority | Rate 9.7% in both groups NI margin 4.8% risk difference 1-sided alpha 0.025 | 98%
2° endpoint 1-year angina | Non-inferiority | Rate 22.6% in both groups NI margin 7% risk difference 1-sided alpha 0.025 | 99%
2° endpoint 1-year angina | Superiority | Rate 22.6% EES, 17.7% BVS 2-sided alpha 0.05 | 86%
  *Assumed attrition: 99% 30-day follow-up; 95% 1-year follow-up

## Slide 7
Principal Investigator and Study Chair
  Gregg W. Stone, MD, Columbia University Medical Center, NY, NY
Co-Principal Investigators
  Stephen G. Ellis, MD, Cleveland Clinic, Cleveland, OH
  Dean J. Kereiakes, MD, The Christ Hospital, Cincinnati, OH
Clinical Events Committee
  Cardiovascular Research Foundation, New York, NY Steven Marx, MD, chair
Angiographic Core Laboratory
  Cardiovascular Research Foundation, New York, NY Ziad Ali, MD, director; Philippe Genereux, MD, former director
Data Safety Monitoring Board
    Axio Research, Seattle, WA; Robert N. Piana, MD, chair
Sponsor
  Abbott Vascular, Santa Clara, CA
Study Leadership

## Slide 8
USA
CANADA
Between August 15, 2014 and March 31, 2017
2604 Pts Enrolled at 147 Sites
US, Canada, Germany, Australia, Singapore
GERMANY
AUSTRALIA
SINGAPORE

## Slide 9
Study Flow and Follow-up
Absorb N=1,296
Absorb
N=1,288 (99.4%)
Xience
N=1,303 (99.6%)
N=5 withdrew consent
N=3 lost to follow-up
N=6 withdrew consent
(1 w/event before 30-day)
Xience
N=1,308
30-day follow-up
Stratified by diabetes and ABSORB III-like vs. not
2,604 pts at 147 sites
(US, Ca, Germany, Aus, Singapore)
Randomized 1:1
Absorb
N=1,254 (96.8%)
Xience
N=1,272 (97.2%)
N=16 withdrew consent
N=30 lost to follow-up
(4 w/events before 1-year)
N=17 withdrew consent
N=20 lost to follow-up
(1 w/event before 1-year)
1-year follow-up

## Slide 10
1. Dr. Gori (89) Johannes Gutenberg-Universitaet Langenbeckstr, Mainz, Germany | 8. Dr. Broderick (56) The Christ Hospital, Cincinnati, OH | 15. Dr. Whitbourn (46) St. Vincent's Hospital Melbourne, VIC, Australia
2. Dr. Metzger (75) Holston Valley Wellmont Medical Center, Kingsport, TN | 9. Dr. Kabour (55) Mercy St. Vincent Medical Center, Toledo, OH | 16. Dr. Gaither (42) Winchester Medical Center, Winchester, VA
3. Drs. Cambier & Stein (74) Morton Plant Hospital, Clearwater, FL | 10. Dr. Piegari (53) St. Joseph Medical Center, Wyomissing, PA | 17. Dr. Zidar (41) Rex Hospital, Inc., Raleigh, NC
4. Dr. Erickson (65) Royal Perth Hospital, WA, Australia | 11. Drs. Fortuna & Cavendish (52) Scripps Memorial Hospital La Jolla, La Jolla, CA | 18. Dr. Wöhrle (40) Universitätsklinik um Ulm ALBERT- EINSTEIN, Ulm, Germany
5. Dr. Torzewski (63) Kliniken Oberallgäu GmbH, Immenstadt, Germany | 12. Dr. Bertolet (51) North Mississippi Medical Center, Tupelo, MS | 19. Dr. Wang (36) MedSTAR Union Memorial Hospital, Hyattsville, MD
6. Dr. Williams (62) Presbyterian Hospital, Charlotte, NC | 13. Dr. Choi (51) Baylor Jack and Jane Hamilton Heart and Vascular Hospital, Dallas, TX | 20. Dr. Litt (36) Baptist Medical Center, Jacksonville, FL
7. Dr. Gruberg (62) Stony Brook University Medical Center, Stony Brook, NY | 14. Drs. Waksman & Satler (47) MedSTAR Washington Hospital Center, Hyattsville, MD | 21. Dr. Caputo (36) St. Joseph's Hospital Health Center, Liverpool, NY
Top Enrollers (2,604 patients)

## Slide 11
Characteristic | Absorb (N=1296) | Xience (N=1308)
Age (mean) | 63.1 ± 10.1 | 62.2 ± 10.3
Male | 71.5% | 72.4%
Race (Caucasian) | 87.6% | 88.7%
Current tobacco use | 22.1% | 23.3%
Hypertension | 78.5% | 78.6%
Dyslipidemia | 80.0% | 79.2%
Diabetes | 31.6% | 31.9%
Insulin-treated | 11.6% | 11.1%
Prior MI | 18.0% | 19.4%
Prior coronary intervention | 30.1% | 33.3%
Recent MI (biomarker +) | 24.0% | 23.8%
BMI (kg/m2) | 30.3 ± 5.9 | 30.2 ± 6.1
Baseline Characteristics
There were no significant differences between groups

## Slide 12
Per lesion | Absorb (N=1296) (L=1446) | Xience (N=1308) (L=1457)
# of target lesions treated | 1.1 ± 0.3 | 1.1 ± 0.3
One | 88.4% | 88.8%
Two | 10.6% | 10.7%
Three | 0.6% | 0.4%
Target lesion |  | 
LAD | 43.6% | 43.7%
RCA | 25.9% | 25.9%
LCX | 30.5% | 30.4%
Lesion length, mm | 14.9 ± 6.2 | 15.1 ± 6.9
>24 mm | 9.9% | 9.9%
RVD, mm | 2.90 ± 0.39 | 2.89 ± 0.38
<2.25 mm | 2.5% | 2.9%
MLD, mm | 0.82 ± 0.35 | 0.81 ± 0.34
%DS | 71.8 ± 11.2 | 71.8 ± 10.9
Baseline Characteristics (QCA)
N= number of patients; L= number of lesions
There were no significant differences between groups

## Slide 13
Per Lesion | Absorb (N=1296) (L=1446) | Xience (N=1308) (L=1457) | p-value
Pre-dilatation performed | 99.8% | 99.2% | 0.02
NC/cutting/scoring balloon | 43.9% | 40.4% | 0.06
Balloon/QCA-RVD ratio | 1.00 ± 0.12 | 0.99 ± 0.12 | 0.22
Pressure (atm.) | 12.6 ± 3.5 | 12.6 ± 3.5 | 0.99
Max device diameter (mm) | 3.22 ± 0.44 | 3.16 ± 0.44 | <0.0001
Device dia./QCA-RVD ratio | 1.12 ± 0.12 | 1.10 ± 0.11 | <0.0001
Total study device length (mm) | 20.5 ± 8.3 | 20.1 ± 7.9 | 0.25
Post-dilatation performed | 82.6% | 54.1% | <0.0001
NC balloon | 98.1% | 96.1% | 0.007
Balloon diameter (mm) | 3.25 ± 0.45 | 3.26 ± 0.46 | 0.74
Balloon/QCA-RVD ratio | 1.13 ± 0.12 | 1.12 ± 0.11 | 0.12
Max pressure (atm.) | 16.3 ± 3.1 | 15.9 ± 3.1 | 0.002
Procedural Technique
N= number of patients
L= number of lesions

## Slide 14
Per lesion | Absorb (N=1296) (L=1446) | Xience (N=1308) (L=1457) | p-value
RVD (mm) | 2.96 ± 0.40 | 2.95 ± 0.39 | 0.61
In-Device |  |  | 
MLD (mm) | 2.66 ± 0.39 | 2.74 ± 0.41 | <0.0001
Acute gain (mm) | 1.85 ± 0.46 | 1.92 ± 0.46 | <0.0001
%DS | 9.9 ± 8.3 | 7.2 ± 7.9 | <0.0001
In-Segment |  |  | 
MLD (mm) | 2.41 ± 0.40 | 2.41 ± 0.41 | 0.71
Acute gain (mm) | 1.59 ± 0.47 | 1.60 ± 0.46 | 0.72
%DS | 18.6 ± 8.5 | 18.2 ± 8.4 | 0.24
Post-Procedural QCA
N= number of patients
L= number of lesions

## Slide 15
 | Absorb (N=1296) (L=1446) | Xience (N=1308) (L=1457) | p-value
Device Success | 94.6% | 99.0% | <0.0001
Procedural Success | 93.8% | 95.9% | 0.02
Device Success (lesion basis)
  Successful delivery and deployment of study scaffold/stent at intended target lesion
  Successful withdrawal of delivery system and final in-scaffold/stent DS <30% (QCA)
Procedure Success (patient basis)
  Successful delivery and deployment of at least one study scaffold/stent at intended target lesion
  Successful withdrawal of delivery system and final in-scaffold/stent DS <30% (QCA)
  No in-hospital (maximum 7 days) TLF
Acute Success
N= number of patients
L= number of lesions

## Slide 16
 | Absorb (N=1296) | Xience (N=1308) | p-value
At index procedure |  |  | 
Aspirin | 99.3% | 99.8% | 0.08
P2Y12 inhibitor | 99.3% | 99.5% | 0.43
Clopidogrel | 55.4% | 54.9% | 0.79
Prasugrel | 18.0% | 18.7% | 0.62
Ticagrelor | 29.2% | 29.8% | 0.75
At 30 days |  |  | 
Aspirin usage | 99.5% | 99.1% | 0.26
P2Y12 inhibitor | 99.4% | 99.5% | 0.78
Clopidogrel | 62.1% | 60.9% | 0.55
Prasugrel | 16.5% | 17.2% | 0.63
Ticagrelor | 23.0% | 23.2% | 0.88
At 1 year |  |  | 
Aspirin usage | 93.9% | 94.6% | 0.41
P2Y12 inhibitor | 90.9% | 92.2% | 0.25
Clopidogrel | 61.1% | 61.0% | 0.98
Prasugrel | 13.5% | 13.7% | 0.87
Ticagrelor | 16.6% | 17.5% | 0.52
Antiplatelet Agent Usage

## Slide 17
 | At discharge |  |  | At 1 year |  | 
Question | Absorb scaffold (N=1296) | Xience stent (N=1308) | P-value | Absorb scaffold (N=1296) | Xience stent (N=1308) | P-value
Do you think you know which device you received? |  |  |  |  |  | 
- Yes | 11.0% | 9.4% | 0.20 | 18.4% | 16.4% | 0.23
- No | 89.0% | 90.6% | 0.20 | 81.6% | 83.6% | 0.23
If yes, which device do you think you received? |  |  |  |  |  | 
- Standard metal stent | 11.0% | 5.4% | 0.12 | 11.7% | 17.5% | 0.13
- Temporary dissolving stent | 89.0% | 94.6% | 0.12 | 88.3% | 82.5% | 0.13
If yes, are you certain? |  |  |  |  |  | 
- Yes | 25.4% | 35.1% | 0.10 | 51.7% | 37.3% | 0.008
- No | 74.6% | 64.9% | 0.10 | 48.3% | 62.7% | 0.008
Blinding/Perception Questionnaire
Results at Discharge and 1 Year

## Slide 18
Target Lesion Failure
No. at Risk:
Absorb
TLF (%)
Xience
1296
1308
1-year HR [95% CI] =
1.22 [0.91, 1.63]
PNI=0.006
PSup=0.19
7.6%
6.3%
1223
1254
1213
1242
1199
1221
1148
1183
1166
1205
Absorb
Xience
Months Post Index Procedure
0%
2%
4%
6%
8%
12%
0
1
2
3
4
5
6
7
8
9
10
11
12
10%
4.9%
3.7%
30-day HR [95% CI] =
1.35 [0.93, 1.97]
PNI=0.02
PSup=0.11

## Slide 19: 30-Day Endpoints
 | Absorb (N=1296) | Xience (N=1308) | p-value
TLF | 4.9% (64) | 3.7% (48) | 0.11
- Cardiac death | 0.1% (1) | 0% (0) | 0.32
- TV-MI | 4.4% (57) | 3.6% (47) | 0.29
- ID-TLR | 1.0% (13) | 0.2% (3) | 0.02
TVF (CD, MI, ID-TVR) | 5.1% (66) | 3.7% (48) | 0.08
PoCE (death, MI, revasc) | 5.2% (67) | 4.1% (53) | 0.17
- All-cause death | 0.1% (1) | 0.1% (1) | 0.99
- MI | 4.5% (58) | 3.6% (47) | 0.25
- Peri-procedural MI | 3.8% (49) | 3.4% (44) | 0.56
- Spontaneous | 0.8% (10) | 0.2% (3) | 0.05
- All revascularization | 1.5% (19) | 0.6% (8) | 0.03
- ID-TVR | 1.2% (16) | 0.2% (3) | 0.003
Data are KM estimates (n events)

## Slide 20: 1-Year Endpoints
 | Absorb (N=1296) | Xience (N=1308) | p-value
TLF | 7.6% (98) | 6.3% (82) | 0.19
- Cardiac death | 0.8% (10) | 0.6% (8) | 0.62
- TV-MI | 5.8% (75) | 4.5% (58) | 0.12
- ID-TLR | 2.9% (37) | 1.9% (24) | 0.08
TVF (CD, MI, ID-TVR) | 8.7% (111) | 7.6% (99) | 0.33
PoCE (death, MI, revasc) | 9.7% (124) | 8.6% (112) | 0.35
- All-cause death | 1.3% (16) | 1.1% (14) | 0.69
- MI | 6.2% (80) | 5.0% (65) | 0.18
- Peri-procedural MI | 3.8% (49) | 3.4% (44) | 0.56
- Spontaneous | 2.6% (33) | 1.7%( 22) | 0.12
- All revascularization | 4.9% (63) | 3.9% (50) | 0.19
- ID-TVR | 4.0% (51) | 2.9% (37) | 0.11
Data are KM estimates (n events)

## Slide 21
Device Thrombosis
No. at Risk:
Absorb
Device Thrombosis (%)
Xience
1296
1308
1-year HR [95% CI] =
2.28 [0.70, 7.40]
P=0.16
0.7%
0.3%
1279
1299
1274
1289
1266
1277
1229
1252
1243
1264
Absorb
Xience
Months Post Index Procedure
0%
0.2%
0.4%
0.6%
0.8%
1.2%
0
1
2
3
4
5
6
7
8
9
10
11
12
1.0%
0.6%
0.2%
30-day HR [95% CI] =
4.05 [0.86, 19.06]
P=0.06

## Slide 22
Recurrent Angina
No. at Risk:
Absorb
Angina (%)
Xience
1296
1308
1-year HR [95% CI] =
1.00 [0.84, 1.18]
PNI = 0.0008
PSup = 0.86
21.3%
21.2%
1149
1163
1094
1099
1081
1079
980
989
1049
1046
Absorb
Xience
Months Post Index Procedure
0%
5%
10%
15%
20%
30%
0
1
2
3
4
5
6
7
8
9
10
11
12
25%
Protocol definition of angina =
Adjudicated typical angina or anginal equivalent symptoms

## Slide 23
 | Absorb (N=1296) | Xience (N=1308) | p-value
Symptom adjudication type* |  |  | 
- Angina | 13.0% | 13.3% | 0.88
- Anginal equivalent | 8.2% | 8.3% | 0.92
- Non-anginal chest pain and/or non-cardiac shortness of breath | 25.4% | 25.1% | 0.85
Protocol angina** | 20.3% | 20.5% | 0.89
Anginal severity worst class, pts with protocol angina |  |  | 
- I | 16.6% | 18.9% | 
- II | 41.1% | 33.2% | 0.98
- III | 26.5% | 35.5% | 
- IV | 15.8% | 12.4% | 
Type and Severity of Angina
During 1-Year Follow-up Adjudicated
*Categories are non-exclusive; patients may have more than one type of symptom during follow-up. **Defined as adjudicated angina or anginal equivalent symptoms.

## Slide 24: 1-Year Target Lesion Failure ABSORB IV vs. ABSORB III
Chart: 
| ABSORB III | ABSORB III-like | Not ABSORB III-like | All ABSORB IV
Absorb BVS | 7.5 | 7.4 | 8.4 | 7.6
Xience CoCr-EES | 5.7 | 5.7 | 8.1 | 6.3
ABSORB IV (n=2604)
1-year TLF (%)
HR [95%CI] =
1.33 [0.92,1.93]
Pinteraction
= 0.46
n=1322
n=686
n=338
n=348
n=1296
n=1308
n=958
n=960
(n=2008)
HR [95%CI] =
1.22 [0.91, 1.63]
HR [95%CI] =
1.03 [0.61, 1.74]
Pinteraction
= 0.97
HR [95%CI] =
1.31 [0.92,1.87]
1918/2604 pts (73.7%) enrolled in ABSORB IV were “ABSORB III-like”; 686 (26.3%) were not (23.9% troponin+ ACS, 0.5% 3 target lesions treated, 2.1% thrombus)
Data are Kaplan-Meier rates

## Slide 25: 1-Year Device Thrombosis ABSORB IV vs. ABSORB III
Chart: 
| ABSORB III | ABSORB III-like | Not ABSORB III-like | All ABSORB IV
Absorb BVS | 1.5 | 0.4 | 1.5 | 0.7
Xience CoCr-EES | 0.7 | 0.1 | 0.9 | 0.3
ABSORB IV (n=2604)
1-year Device Thrombosis (%)
HR [95%CI] =
2.08 [0.78, 5.55]
Pinteraction
= 0.53
n=1322
n=686
n=338
n=348
n=1296
n=1308
n=958
n=960
(n=2008)
HR [95%CI] =
2.28 [0.70, 7.40]
HR [95%CI] =
1.72 [0.41, 7.21]
Pinteraction
= 0.59
HR [95%CI] =
4.02 [0.45, 35.95]
1918/2604 pts (73.7%) enrolled in ABSORB IV were “ABSORB III-like”; 686 (26.3%) were not (23.9% troponin+ ACS, 0.5% 3 target lesions treated, 2.1% thrombus)
Data are Kaplan-Meier rates

## Slide 26
Although troponin-positive patients were enrolled, ABSORB IV excluded STEMI and complex lesions (e.g. large bifurcations, diffuse disease, CTO, LM); results may not be generalizable to such patients
While the trial methodology was successful at eliminating most very small vessels, “optimal” PSP rates were still low, and use of IV imaging was uncommon
Longer-term follow-up is required to understand the true safety and efficacy profile of BVS during (0-3 years) and beyond (3-10 years) its complete bioresorption
  The beneficial effects of high-pressure post-dilatation on ensuring scaffold-wall apposition may principally impact very late results (>1 year)
Limitations

## Slide 27
In this large-scale, blinded randomized trial:
Absorb BVS was non-inferior to Xience CoCr-EES for TLF at 30 days and 1 year
Compared with ABSORB III, nearly eliminating treatment of very small vessels in ABSORB IV substantially reduced the scaffold thrombosis rate with BVS, but also with CoCr-EES
Angina recurred in a relatively high but nearly identical rate in both arms, with a bimodal pattern suggesting contributions from incomplete revascularization, restenosis, and possibly non-CAD-related mechanisms
Summary and Conclusions 1

## Slide 28
Despite better pt and lesion selection (larger vessels, troponin+ ACS) and improved technique, 30-day and 1-year rates of MI, ID-TLR and device thrombosis still tended to be greater with BVS than with CoCr-EES
These data, which are largely consistent with those from earlier ABSORB trials, emphasize the need for further advancements in device technology and improvements in technique (e.g. routine IV imaging) to further improve the early safety profile of BVS if the benefits of late scaffold bioresorption are to be realized
Summary and Conclusions 2

## Slide 29
www.thelancet.com Published online September 25, 2018 http://dx.doi.org/10.1016/S0140-6736(18)32283-9

## Slide 30: Back-up Slides

## Slide 31
≥18 years old
SIHD, NSTEACS, STEMI >72 hours; troponin pos or neg
1, 2 or 3 de novo target lesions in up to 2 native coronary arteries (max 2 lesions per artery) ± 1 non-target lesion
Diameter stenosis ≥50% and <100% with TIMI flow ≥1
  If DS <70%, abnormal noninvasive or invasive functional test, unstable angina or NSTEMI within 2 weeks, or STEMI >72 hours but ≤2 weeks.
RVD ≥2.50 mm and ≤3.75 mm (visually estimated)
  QCA or IVUS/OCT strongly recommended if visually estimated RVD ≤2.75 mm and 2.5 mm device intended
Lesion length ≤24 mm (visually estimated)
Major Inclusion Criteria

## Slide 32
LVEF <30%
GFR <30 ml/min/1.73mm2 or dialysis
Any contraindication to taking DAPT for ≥12 months
Target lesion: left main, ostial, bifurcation with SB ≥2 mm or stenosis >50% or requiring dilatation, in or distal to bypass graft, or within 5 mm of prior stent
Proximal vessel or target lesion: mod/severe calcification, extreme angulation (≥90°) or excessive tortuosity (≥two 45° angles)
Target vessel PCI within prior 12 months, or any future planned PCI (except staged procedures for study lesions)
Receiving or will require chronic oral anticoagulation
Unsuccessful pre-dilatation
Major Exclusion Criteria

## Slide 33
Primary endpoint #1: TLF at 30 days (non-inferiority)
  Cardiac death, or
  Myocardial infarction attributed to the target vessel (TV-MI), or
    Peri-procedural MI: CK-MB >5x ULN w/i 48 hours
  Ischemia-driven target lesion revascularization (ID-TLR)
Secondary endpoint #1: TLF at 1 year (non-inferiority)
Secondary endpoint #2: Adjudicated angina at 1 year (sequential noninf and superiority)
  Typical angina or anginal equivalent symptoms
Powered Endpoints
Through 1 Year

## Slide 34
Per lesion | Absorb (N=1296) (L=1446) | Xience (N=1308) (L=1457)
ACC/AHA lesion class B2/C | 47.0% | 45.6%
Mod/sev calcification | 24.1% | 23.5%
Mod/sev tortuosity | 8.7% | 7.5%
Bifurcation | 17.3% | 17.5%
Thrombus | 1.9% | 2.3%
TIMI flow |  | 
3 | 84.1% | 85.0%
2 | 12.9% | 13.1%
0/1 | 3.0% | 1.9%
Baseline Characteristics (QCA)
N= number of patients; L= number of lesions
There were no significant differences between groups

## Slide 35
Per patient | Absorb (N=1296) (L=1446) | Xience (N=1308) (L=1457) | p-value
Bivalirudin use | 26.5% | 27.7% | 0.52
GP IIb/IIIa inhibitor use | 13.4% | 12.6% | 0.54
Cangrelor use | 0.3% | 0.5% | 0.75
Only assigned device implanted | 92.6% | 99.2% | <0.0001
Unplanned overlapping devices | 5.9% | 4.6% | 0.14
Intravascular imaging use | 15.6% | 12.8% | 0.04
Procedure duration (min) | 46.2 ± 25.2 | 38.1 ± 21.1 | <0.0001
Procedural Characteristics
N= number of patients
L= number of lesions

## Slide 36
Chart: 
| 2.9 | 2.9 | 2.9
NI Margin | 0 | 0.5 | 1
Y | 0.5
Difference [97.5% UCL] =
1.29% [2.89%]
PNI = 0.02
% Difference (Absorb - Xience)
Primary Endpoint
30-Day TLF (ITT)
30-day TLF
Absorb vs. Xience
5.0% (64/1288) vs. 3.7% (48/1303)
Non-inferiority
margin
= 2.9%

## Slide 37
Chart: 
| 2.9 | 2.9 | 2.9
NI Margin | 0 | 0.5 | 1
Y | 0.5
Non-inferiority
margin
= 2.9%
Difference [97.5% UCL] =
0.83% [2.46%]
PNI = 0.006
% Difference (Absorb - Xience)
Primary Endpoint
30-Day TLF (As-treated)
30-day TLF
Absorb vs. Xience
4.6% (55/1205) vs. 3.7% (50/1340)

## Slide 38
Chart: 
| 4.8 | 4.8 | 4.8
NI Margin | 0 | 0.5 | 1
Y | 0.5
Difference [97.5% UCL] =
1.4% [3.4%]
PNI = 0.0006
% Difference (Absorb - Xience)
Secondary Endpoint
1-Year TLF (ITT)
1-year TLF
Absorb vs. Xience
7.8% (98/1254) vs. 6.4% (82/1272)
Non-inferiority
margin
= 4.8%

## Slide 39: Peri-Procedural Myonecrosis and MI by Different Definitions
CK-MB threshold | Absorb (N=1296) | Xience (N=1308) | p-value
>3x ULN | 13.0% | 10.0% | 0.02
>5x ULN | 6.8% | 5.3% | 0.11
>8x ULN | 3.6% | 2.9% | 0.31
>10x ULN | 2.7% | 2.0% | 0.29
3rd UDMI | 4.2% | 3.7% | 0.51
Modified WHO definition | 2.0% | 1.8% | 0.64
SCAI definition | 3.7% | 3.4% | 0.67

## Slide 40
 | AIII-like |  |  | Not AIII-like |  |  | 
30-day outcomes | Absorb (N=958) | Xience (N=960) | HR [95%CI] | Absorb (N=338) | Xience (N=348) | HR [95%CI] | P-value interaction
TLF* | 5.0% | 3.0% | 1.67 [1.05, 2.65] | 4.7% | 5.5% | 0.87 [0.45, 1.68] | 0.11
- Cardiac death | 0.1% | 0% | - | 0% | 0% | - | 1.00
- TV-MI* | 4.5% | 2.9% | 1.55 [0.96, 2.49] | 4.1% | 5.5% | 0.76 [0.38, 1.51] | 0.09
- ID-TLR | 0.7% | 0.1% | 7.04 [0.87, 57.25] | 1.8% | 0.6% | 3.09 [0.62, 15.33] | 0.54
Device thrombosis | 0.4% | 0% | - | 1.2% | 0.6% | 2.06 [0.38, 11.24] | 0.99
Angina | 11.0% | 11.4% | 0.97 [0.74, 1.27] | 11.0% | 10.4% | 1.07 [0.67, 1.69] | 0.73
AIII-like vs. Not AIII-like Patients
*Using the ABSORB IV MI definition
1918/2604 pts (73.7%) enrolled in ABSORB IV were “ABSORB III-like”; 686 (26.3%) were not (23.9% troponin+ ACS, 0.5% 3 target lesions treated, 2.1% thrombus)

## Slide 41
 | AIII-like |  |  | Not AIII-like |  |  | 
1-year outcomes | Absorb (N=958) | Xience (N=960) | HR [95%CI] | Absorb (N=338) | Xience (N=348) | HR [95%CI] | P-value interaction
TLF* | 7.4% | 5.7% | 1.31 [0.92, 1.87] | 8.4% | 8.1% | 1.03 [0.61, 1.74] | 0.46
- Cardiac death | 0.7% | 0.6% | 1.17 [0.39, 3.48] | 0.9% | 0.6% | 1.55 [0.26, 9.28] | 0.79
- TV-MI* | 5.4% | 3.7% | 1.47 [0.96, 2.26] | 7.2% | 6.6% | 1.07 [0.60, 1.90] | 0.38
- ID-TLR | 2.3% | 1.6% | 1.48 [0.77, 2.85] | 4.5% | 2.7% | 1.75 [0.76, 3.99] | 0.75
Device thrombosis | 0.4% | 0.1% | 4.02 [045, 35.95] | 1.5% | 0.9% | 1.72 [0.41, 7.21] | 0.53
Angina | 21.4% | 21.7% | 0.99 [0.81, 1.20] | 20.5% | 20.1% | 1.02 [0.73, 1.43] | 0.85
AIII-like vs. Not AIII-like Patients
*Using the ABSORB IV MI definition
1918/2604 pts (73.7%) enrolled in ABSORB IV were “ABSORB III-like”; 686 (26.3%) were not (23.9% troponin+ ACS, 0.5% 3 target lesions treated, 2.1% thrombus)

## Slide 42: ABSORB III vs. ABSORB IV
N= number of patients
1 L= number of lesions
 | ABSORB III |  |  | ABSORB IV |  | 
 | All pts (N=2008) (L=2098) | Absorb (N=1322) (L=1385) | Xience (N=686) (L=713) | All pts (N=2604) (L=2903) | Absorb (N=1296) (L=1446) | Xience (N=1308) (L=1457)
ABSORB III-like | 100% | 100% | 100% | 73.7% | 73.9% | 73.4%
Not ABSORB III-like | 0% | 0% | 0% | 26.3% | 26.1% | 26.6%
- troponin+ ACS | 0% | 0% | 0% | 23.9% | 24.0% | 23.8%
- 3 target lesions | 0% | 0% | 0% | 0.5% | 0.6% | 0.4%
- thrombotic lesion | 0% | 0% | 0% | 2.1% | 1.9% | 2.3%
1QCA RVD mean, mm | 2.66 | 2.67 | 2.65 | 2.89 | 2.90 | 2.89
1QCA RVD <2.25 mm | 18.3% | 17.8% | 19.4% | 2.7% | 2.5% | 2.9%
1Pre-dil mean b/a ratio | 1.09 | 1.09 | 1.08 | 1.00 | 1.00 | 0.99
1Pre-dil mean, atm. | 12.1 | 12.1 | 12.1 | 12.6 | 12.6 | 12.6
1Post-dil performed | 59.8% | 64.8% | 49.9% | 68.3% | 82.6% | 54.1%
1Post-dil mean, atm. | 15.6 | 15.6 | 15.8 | 16.2 | 16.0 | 16.4

## Slide 43: ABSORB III vs. ABSORB IV
Optimal PSP Technique (BVS pts)
1Performed in all lesions with a balloon to QCA-RVD ratio ≥1:1; 2QCA-RVD ≥2.25 mm - ≤3.75 mm for all treated lesions; 3Performed with a non-compliant balloon at ≥18 atm. and with nominal diameter larger than the nominal scaffold diameter, but not >0.5 mm larger, in all treated lesions
 | ABSORB III |  | ABSORB IV | 
PSP technique | Lesions (N=1385) | Patients (N=1322) | Lesions (N=1446) | Patients (N=1296)
Pre-dilatation:1 | 72.3% | 71.6% | 45.7% | 47.2%
Sizing:2 | 80.6% | 80.0% | 95.8% | 96.3%
Post-dilatation:3 | 9.9% | 9.5% | 14.3% | 15.2%
All PSP | 4.8% | 4.6% | 7.4% | 8.0%